IAEA Training Course on Radiation Protection for Doctors

(Non-radiologists, non-cardiologists) using Fluoroscopy

| Topic No | Topic |  | Educational objectives (At the end of the programme, the participants should know these) | Contents |
| --- | --- | --- | --- | --- |
| 1. | Overview of radiation protection |  | - Radiation we live with versus radiation we work with - Radiation that can be lethal - Do we need radiation protection? - Radiation effects - The ALARA principle - Occupational dose limits | Natural background radiation. Magnitude of exposure from various natural sources. Example of quantification of lethal radiation dose. Effects of radiation, stochastic and deterministic effects and protection philosophy. Optimization of radiation exposures. Dose limits for occupational exposure and for the public. The principle of ALARA. Radiation induced cancer risks. Occupational dose limits, changes of dose limits through the years. Principles of radiation protection Occupational involvement of personnel in radiography and fluoroscopy. |
| 2. | Understanding radiation units |  | - How radiation dose can and should be expressed? - Radiation quantities useful for dose to doctors that use fluoroscopy - Radiation quantities useful for patient doses from fluoroscopic procedures - Staff dose monitoring - The inverse square law | The concept of dose. Dose quantities (absorbed dose, equivalent dose and effective dose). Meaning of dose quantities, dose absorption and biological effects Typical effective doses in medicine, staff exposure and occupational limits. What is meant by CAK, KAP, DAP, ESD. Using DAP and ESD in practice. Individual and patient dose monitoring, dosimeter types. Cataract. The inverse square law and its importance, correct imaging geometry |
| 3. | What can radiation do? |  | - What radiation effects are possible? - Effects that have threshold - No threshold effects - cancer, genetic - Effects at the level of cell, DNA - Probability of cancer, genetic effects - Risk for radiologists, technologists - Patients, Children, young & pregnant female | Stochastic and deterministic effects. Effects of radiation on cells, mechanisms of cancer induction and deterministic effects. Radiosensitivity. Cancer risks. Hereditary effects risk. Quantifying risk in clinical practice. Studies concerning cancer risks for health professionals. Studies on mortality of atomic bomb survivors. Non-neoplastic effects on circulatory and cerebrovascular systems Patients doses, children’s radiosensitivity. Dose for the onset of radiation Cataract. |
| 4. | Anatomy of fluoroscopy & CT Fluoroscopy Equipment |  | - Design of fluoroscopy equipment - Factors that influence X ray output from a fluoroscopic system - New developments in fluoroscopy equipment | Fluoroscopy screens. C-arm machines design, image intensifier. Automatic brightness control (ABC). Modes of fluoroscopic imaging and dose levels: magnification, cine acquisition, pulsed fluoroscopy. Image quality-dose trade-off. Effect of filtration, collimation. Ageing of equipment. New developments: flat panel detectors, CT fluoroscopy, Mobile CT. |
| 5. | How do I reduce my radiation risk? |  | - Regulatory aspects of occupational protection - Basic methods for radiation protection - Factors affecting staff doses in fluoroscopy - Practical rules - Protection devices - Individual dose monitoring - Health surveillance | Safety standards. Dose limits, responsibilities of workers and employers. Golden rules of radiation protection (time, distance, shielding, technique). Exposure sources for staff. Methods to reduce staff exposure. Practical methods to control patient and staff dose. Protective equipment personal (lead aprons, thyroid protectors, leaded goggles and gloves), screens, curtains. Personal dosimetry (types of dosimeters, practice aspects and regulations). Staff health surveillance, protection of pregnant workers. |
| 6A. | Radiation protection for patients in orthopaedic surgery |  | - Necessity to consider radiation protection of patients - Fluoroscopy techniques related factors that affect patient dose - Role of the operator in patient dose management - How to manage patient dose using physical and equipment factors | Reasons why patient radiation protection in fluoroscopy is important. Objectives and principles of patient radiation protection. Factors affecting patient dose in fluoroscopy. Image formation. Skin dose. Effects on dose of: inverse square law, scattering, patient size, imaging geometry. Grids, pediatric imaging, collimation. Dose metrics: DAP. Oblique projections and dose to the patient. Magnification, pulsed fluoroscopy. Exposure settings (kV, mA), equipment specific factors that reduce dose. DAP meters. Reference doses for fluoroscopy. New developments in dose reduction, Staff radiation protection. |
| 6B. | Radiation Exposure in Gastroenterology |  | - Doses to patients and staff in ERCP and other GI procedures - Factors on which dose depends - Methods to reduce dose | Uses of fluoroscopy in gastroenterology (ERCP, Cholangiogram, Pancreatogram). Modern fluoroscopy systems. Dose and dose quantities (ESD, DAP, equivalent dose, effective dose). Radiation effects (deterministic, stochastic). Equipment and technique related parameters that influence dose (inverse-square law, position of tube and image receptor, magnification, beam angulation, beam settings, collimation). Complex procedures. Staff exposure and factors that influence it, dose limits. Methods to reduce exposure. Staff protection equipment, staff dosimetry. Pregnancy and fluoroscopically guided gastroenterology procedures. ERCP procedures. Non-ERCP procedures. |
| 6C. | Other medical specialties that use fluoroscopy |  | - Doses to patients and staff in urological, gynecological, vascular surgery, anesthesia procedures using fluoroscopy - Identify specific opportunities for occupational and patient dose reduction | Urology, typical urology doses by procedure, occupational exposure in urology, urologic surgery radiation shield. Gynecology, hysterosalpingography, typical doses. Anesthesia, venous line placement. Doses. Methods for dose reduction (patients). New developments. Staff dose reduction. New versus old equipment. Special groups: children. |
| 7. | International standards and recommendations |  | - International Standards & guidance - Who is responsible for what? - What actions are needed by doctors who use fluoroscopy | Basis for international safety standards. Studying radiation effects: UNSCEAR. Providing basic principles of protection and recommendations: ICRP. Contents of ICRP Publication 105 relevant to fluoroscopy practitioners. ICRP Publication 85: Avoidance of Radiation Injuries from Medical Interventional Procedures. ICRP Publication 84: Pregnancy and Medical Radiation. ICRP Publication 93: Managing patient dose in digital radiology. Standards of Safety: IAEA. Responsibilities of employers and workers, dose limits. Regulations. Quality assurance. Accidental exposures. Pregnant workers. Industry standards for equipment (International Electrotechnical Commission). Actions required by doctors in fluoroscopy: WHO. Additional information: National and Regional Initiatives. Review of other relevant documents of the FDA, NCRP, EC, IEC standards. How can these standards and recommendations be applied. Requirements on patients’ and workers’ protection. Issues of responsibility. |