## Slide 1: RADIATION PROTECTION IN DIAGNOSTIC AND INTERVENTIONAL RADIOLOGY
L17.2: Optimization of Protection in Interventional Radiology
IAEA Training Material on Radiation Protection in Diagnostic and Interventional Radiology
Notes: Part No...., Module No....Lesson No
Module title
IAEA Post Graduate Educational Course in Radiation Protection and Safe Use of Radiation Sources
Part …: (Add part number and title)
Module…: (Add module number and title)
Lesson …: (Add session number and title)
Learning objectives: Upon completion of this lesson, the students will be able to:
…
. (Add a list of what the students are expected to learn or be able to do upon completion of the session)
Activity: (Add the method used for presenting or conducting the lesson – lecture, demonstration, exercise, laboratory exercise, case study, simulation, etc.)
Duration: (Add presentation time or duration of the session – hrs)
Materials and equipment needed: (List materials and equipment needed to conduct the session, if appropriate)
References: (List the references for the session)

## Slide 2: Introduction
17.2: Optimization of Protection in Interventional Radiology
<number>
Interventional radiology practice may lead to unwanted deterministic effects.
In order to avoid such consequences, it is essential to follow the international recommendations published by the ICRP.
Only an effective implementation of radiation protection measures will result in a significant dose reduction for both staff and patient.
Notes: Part No...., Module No....Lesson No
Module title
IAEA Post Graduate Educational Course in Radiation Protection and Safe Use of Radiation Sources
Explanation or/and additional information
Instructions for the lecturer/trainer

## Slide 3: Content
17.2: Optimization of Protection in Interventional Radiology
<number>
  Deterministic effects in Interventional Radiology
  The ICRP 85 and NCRP 168 recommendations
  Dose reduction measures
Notes: Part No...., Module No....Lesson No
Module title
IAEA Post Graduate Educational Course in Radiation Protection and Safe Use of Radiation Sources
Explanation or/and additional information
Instructions for the lecturer/trainer

## Slide 4: Overview
17.2: Optimization of Protection in Interventional Radiology
<number>
To become familiar with the deterministic effects that might occur in interventional radiology and the related international recommendations on radiation protection.
Notes: Part No...., Module No....Lesson No
Module title
IAEA Post Graduate Educational Course in Radiation Protection and Safe Use of Radiation Sources
Lecture notes: ( about 100 words)
Instructions for the lecturer/trainer

## Slide 5: Part 17.2: Optimization of protection in Interventional Radiology
Topic 1: Deterministic effects in interventional radiology
IAEA Training Material on Radiation Protection in Diagnostic and Interventional Radiology
Notes: Part No...., Module No....Lesson No
Module title
IAEA Post Graduate Educational Course in Radiation Protection and Safe Use of Radiation Sources
Part …: (Add part number and title)
Module…: (Add module number and title)
Lesson …: (Add session number and title)
Learning objectives: Upon completion of this lesson, the students will be able to:
…
. (Add a list of what the students are expected to learn or be able to do upon completion of the session)
Activity: (Add the method used for presenting or conducting the lesson – lecture, demonstration, exercise, laboratory exercise, case study, simulation, etc.)
Duration: (Add presentation time or duration of the session – hrs)
Materials and equipment needed: (List materials and equipment needed to conduct the session, if appropriate)
References: (List the references for the session)

## Slide 6
17.2: Optimization of Protection in Interventional Radiology
<number>
Interventional
Radiology
CT
Radiography

## Slide 7: Coronary angioplasty twice in a day followed by bypass graft because of complication. Dose  20 Gy (ICRP 85)
17.2: Optimization of Protection in Interventional Radiology
<number>
(a) 6-8 weeks after multiple coronary angiography and angioplasty
procedures.
(b) 16-21 weeks
(c) 18-21 months after the procedures showing tissue necrosis .
(d) Close-up photograph of the lesion shown in (c).
(e) Photograph after skin grafting. (Photographs courtesy of T. Shope & ICRP).
(d)
(e)
(a)
(c)
(b)

## Slide 8: Neuroradiology Trans-arterial embolization of para orbital AVM twice at a gap of 3 days
17.2: Optimization of Protection in Interventional Radiology
<number>
Photograph showing temporary epilation of the right occipital
region of the skull 5-6 weeks following embolization (Courtesy W. Huda).
Regrowth (grayer than original) reported after 3 months.
Total dose  8 Gy

## Slide 9: Transjugular Intrahepatic Portosystemic Shunt - TIPS -
17.2: Optimization of Protection in Interventional Radiology
<number>
a) Sclerotic depigmented plaque with surrounding hyperpigmentation on the midback of a patient following three TIPS procedures.
These changes were present 2 years after the procedures and were described as typical of chronic radiodermatitis. (Photograph from Nahass and Cornelius (1998)
b) Ulcerating plaque with a rectangular area of surrounding
hyperpigmentation on the midback
(a)
(b)

## Slide 10: Part 17.2: Optimization of Protection in Interventional Radiology
Topic 2: The ICRP 85 recommendations
IAEA Training Material on Radiation Protection in Diagnostic and Interventional Radiology
Notes: Part No...., Module No....Lesson No
Module title
IAEA Post Graduate Educational Course in Radiation Protection and Safe Use of Radiation Sources
Part …: (Add part number and title)
Module…: (Add module number and title)
Lesson …: (Add session number and title)
Learning objectives: Upon completion of this lesson, the students will be able to:
…
. (Add a list of what the students are expected to learn or be able to do upon completion of the session)
Activity: (Add the method used for presenting or conducting the lesson – lecture, demonstration, exercise, laboratory exercise, case study, simulation, etc.)
Duration: (Add presentation time or duration of the session – hrs)
Materials and equipment needed: (List materials and equipment needed to conduct the session, if appropriate)
References: (List the references for the session)

## Slide 11: ICRP 85
17.2: Optimization of Protection in Interventional Radiology
<number>
Radiation induced opacities in the lens of an interventional radiology specialist subjected to high levels of scatter radiation from an over-table X Ray tube. (Photograph from Vañó et al. (1998).

## Slide 12
17.2: Optimization of Protection in Interventional Radiology
<number>
Fluoroscopic guidance of placement of spinal stimulation electrodes illustrating practices which can result in direct X Ray exposure of the hands of the physician performing the procedure: (a) physician’s hand in the area of the X Ray beam.
If exposures are made in this circumstance, the hands receive direct exposure and are visible in the resulting images (b). (Photographs courtesy of S. Balter.)
(a)
(b)

## Slide 13
17.2: Optimization of Protection in Interventional Radiology
<number>
Many of these injuries
are AVOIDABLE –
all of the serious ones
are!

## Slide 14
17.2: Optimization of Protection in Interventional Radiology
<number>
ANGIOGRAPHY
Over 50 reports appeared in 1990’s
Over 100 cases
Likely thousands of unreported

## Slide 15
17.2: Optimization of Protection in Interventional Radiology
<number>
Why do they occur?
No training in radiation protection for those performing these studies, like:
Cardiologist
Urologist
Gastro-enterologist
Orthopedic Surgeon
Vascular Surgeon
Traumatologist
Pediatrician
Anesthesiologist

## Slide 16
17.2: Optimization of Protection in Interventional Radiology
<number>
Cancer
Children at greatest risk

## Slide 17: Skin Injuries
17.2: Optimization of Protection in Interventional Radiology
<number>
Reports Received by FDA of Skin Injury from Fluoroscopy.
Procedure with
Report of Injury
Number of Injuries
Reported from Procedure
RF cardiac catheter ablation 12
Catheter placement for chemotherapy 1
Transjugular interhepatic portosystemic shunt 3
Coronary angioplasty 4
Renal angioplasty 2
Multiple hepatic/biliary procedures 3
(angioplasty, stent placement, biopsy, etc.)
Percutaneous choloangiogram followed 1
by multiple embolizations

## Slide 18
17.2: Optimization of Protection in Interventional Radiology
<number>
Growth of PTCA IN India (1989-1995).

## Slide 19: PTCA
17.2: Optimization of Protection in Interventional Radiology
<number>
20.5% increase in 1995 report vs. 1994.
1999 - Nearly 14,000 cases
Repeat procedures 5-10% in 1990’s. (same lesion 3 times more than different lesion)

## Slide 20: Non- Coronary Cardiac Interventions
17.2: Optimization of Protection in Interventional Radiology
<number>
10.6% increase (5,925 against 2,879)
1996 Vs. 1995.
Dominantly mitral valve balloon dilatations

## Slide 21
17.2: Optimization of Protection in Interventional Radiology
<number>
In India  0.01 PTCA / 1000 population. Which is 1/100th the frequency in Japan
India! How many more cases, X Ray equipment etc. in coming years?

## Slide 22
17.2: Optimization of Protection in Interventional Radiology
<number>
The number of FGI procedures performed annually throughout the world has increased over the past 20 y. Percutaneous coronary intervention (PCI) (coronary angioplasty, with or without stent placement) in Germany, Japan and Spain the annual rate of increase in this procedure from 1994 to 1998 was between 10 and 20 % .
In 1998, the number of these procedures performed was between 1.5 and 2 per 1,000 population in Germany, between 0.5 and 1 per 1,000 population in Japan, and ~0.5 per 1,000 population in Spain (ICRP, 2000a).
In the United States, the rate of PCIs more than doubled from 1996 to 2000, from 0.66 to 1.63 per 1,000 population (CDC, 2004). In 2002, ~450,000 hospital stays in the United States included a PCI (CDC, 2004). Approximately 1,265,000 PCIs were performed on inpatients in the United States in 2005
Trends in fluoroscopically guided procedures
Source: NCRP report No. 168

## Slide 23
17.2: Optimization of Protection in Interventional Radiology
<number>
In 2008, an estimated 3,750,000 cases were performed at the 2,020 cardiac catheterization sites, which included 4,225 fixed cardiac catheterization laboratories. Between 2002 and 2006, the annual growth rate in case volume averaged ~2 %. Between 2006 and 2008, however, case volume declined ~10 % from 2006 to 2007, and a further decrease of ~1 % from 2007 to 2008.
In 2008, an estimated 4,800,000 cases were performed at the 1,720 angiography sites in hospitals with 150 or more beds, which included 3,180 angiography systems. Between 2004 and 2008, the number of total procedures performed annually increased by ~20 %, with an average annual growth rate of 4.6 %. This is essentially the same as the estimated average annual growth rate of 4.3 % observed from 2000 to 2004 (IMV, 2009b). The interventional angiography data do not include procedures performed at smaller hospitals or free-standing sites outside the hospital, and also do not include nonvascular procedures (e.g., nephrostomy, vertebroplasty, endoscopic retrograde cholangiopancreatography).
Trends in fluoroscopically guided procedures
Source: NCRP report No. 168

## Slide 24: Acute radiation doses, delivered to tissues during a single procedure or closely spaced procedures, will cause:
17.2: Optimization of Protection in Interventional Radiology
<number>
1. Erythema at 2 Gy
2. Cataract at 0.5 Gy (According to the ICRP statement on tissue reactions 21 April, 2011)
3. Permanent epilation at 7Gy
4. Delayed skin necrosis at 12 Gy
For protracted exposures to the eye e.g. those experienced by interventionists:
5. Cataract at 4 Gy if dose received in less than 3 months: 5.5 Gy if received over a period exceeding 3 months

## Slide 25: Skin Changes
17.2: Optimization of Protection in Interventional Radiology
<number>
Early transient
erythema
Main
Erythe-matous
Late
in few hours after 2Gy
(due to change in vascular
permeability)
 10 days, as a consequence of
inflammation secondary to death
of epithelial cells.
8-10 wks after exposure, bluish
tinge represents dermal ischemia.
>26 wks. telangiectasia & late
necrosis

## Slide 26: Part 17.2: Optimization of protection in Interventional Radiology
Topic 3: Dose reduction measures
IAEA Training Material on Radiation Protection in Diagnostic and Interventional Radiology
Notes: Part No...., Module No....Lesson No
Module title
IAEA Post Graduate Educational Course in Radiation Protection and Safe Use of Radiation Sources
Part …: (Add part number and title)
Module…: (Add module number and title)
Lesson …: (Add session number and title)
Learning objectives: Upon completion of this lesson, the students will be able to:
…
. (Add a list of what the students are expected to learn or be able to do upon completion of the session)
Activity: (Add the method used for presenting or conducting the lesson – lecture, demonstration, exercise, laboratory exercise, case study, simulation, etc.)
Duration: (Add presentation time or duration of the session – hrs)
Materials and equipment needed: (List materials and equipment needed to conduct the session, if appropriate)
References: (List the references for the session)

## Slide 27
17.2: Optimization of Protection in Interventional Radiology
<number>
PREVENTION

## Slide 28: Angiography
17.2: Optimization of Protection in Interventional Radiology
<number>
Keep beam-on time to an absolute minimum ---
The Golden Rule for control of dose to patient and staff
Remember that dose rates will be greater and dose will accumulate faster in thicker patients.
Keep the X Ray tube at maximal distance from the patient.
Keep the image intensifier as close to the patient as possible.
Practical Actions in controlling dose

## Slide 29
17.2: Optimization of Protection in Interventional Radiology
<number>
Don’t over-use geometric or electronic magnification.
Remove the grid during procedures on small patients or when the image intensifier cannot be placed close to the patient.
Always collimate closely to the area of interest.
When the procedure is unexpectedly prolonged, consider options for positioning the patient or altering the X Ray field or other means to alter beam angulation so that the same area of skin is not continuously in the direct X Ray field.

## Slide 30
17.2: Optimization of Protection in Interventional Radiology
<number>
For many machines, dose rate varies during the Interventional procedure.
Fluoroscopy time is only a very rough indicator of whether radiation injuries may occur.
Patient size and procedural aspects such as location(s) of the beam, beam angle, normal or high dose rates, distance of the tube from the patient and number of acquisitions can cause the maximum patient skin doses to be tenfold different for a specific total fluoroscopy time.

## Slide 31: To control dose to the staff
17.2: Optimization of Protection in Interventional Radiology
<number>
Personnel must wear protective aprons, use shielding, monitor their doses, and know how to position themselves and the machines to minimize dose.
If the beam is horizontal, or near horizontal, the operator should stand on the image intensifier side [to reduce dose].
If the beam is vertical, or near vertical, keep the tube under the patient.

## Slide 32: Angiography - Patient Protection
17.2: Optimization of Protection in Interventional Radiology
<number>
Patients should be counseled on radiation risks if the procedure carries a significant risk of such injury.
Records of exposure should be kept if the estimated maximum cumulative dose to skin is 3 Gy or above.
All patients with estimated skin doses of 3 Gy or above
should be followed up 10 to 14 days after exposure.
The patient’s personal physician should be informed of the possibility of radiation effects.
If the dose is sufficient to cause observable effects,
the patient should be counseled after the procedure.
A system to identify repeated procedures should be set up.

## Slide 33: Summary
17.2: Optimization of Protection in Interventional Radiology
<number>
Deterministic effects to both patient and staff can be avoided by following dose reduction techniques
The ICRP and NCRP recommendations provide a framework within which the Interventional radiology procedures can be performed in a safe manner for both patient and staff.
Notes: Part No...., Module No....Lesson No
Module title
IAEA Post Graduate Educational Course in Radiation Protection and Safe Use of Radiation Sources
Let’s summarize the main subjects we did cover in this session. (List the main subjects covered and stress again the important features of the session)

## Slide 34: Where to Get More Information
17.2: Optimization of Protection in Interventional Radiology
<number>
Wagner LK and Archer BR. Minimising risks from fluoroscopic x rays. Third Edition. Partners in Radiation Management (R.M. Partnership). The Woodlands, TX 77381. USA 2000.
Avoidance of radiation injuries from medical interventional procedures. ICRP Publication 85. Ann ICRP 2000;30 (2). Pergamon.
Radiation Dose Management for Fluoroscopically-Guided Interventional Medical Procedures, NCRP Report No. 168, National Council on Radiation Protection and Measurement. Bethesda, MD. 2010
Interventional Fluoroscopy: Physics, Technology, Safety, S. Balter, Wiley-Liss, 2001
Notes: Part No...., Module No....Lesson No
Module title
IAEA Post Graduate Educational Course in Radiation Protection and Safe Use of Radiation Sources