## Slide 1: PREVENTION OF ACCIDENTAL EXPOSURE IN RADIOTHERAPY
Part 1: Review of International Basic Safety Standards
IAEA Training Course

## Slide 2: Overview / Objectives
Module 1.1: BSS principal requirements
Module 1.2: BSS appendix II (medical exposure)
Group exercise G1: BSS
Objectives:
To provide an orientation of the principal contents of the BSS, and to specifically emphasize the potential role of the BSS in the prevention of accidental medical exposure.
Notes: It will become clear, as the workshop progresses, how the adherence to the BSS can help to prevent accidental medical exposure.
Instructions for the lecturer/trainer

## Slide 3: Module 1.1: BSS principal requirements
IAEA Training Course

## Slide 4: International Basic Safety Standards
rpop.iaea.org
Notes: The icon, to the right, indicates that the BSS is linked to from the rpop website

## Slide 5
BSS: International harmonization
BSS
BSS
BSS

## Slide 6
BSS: International harmonization
Frequently asked questions and problems with standards

## Slide 7
Q:
Should the international BSS be met in developing countries?
Should we have different standards for industrialized and developing countries?

## Slide 8
A:
Standards for Protection and Safety should be applicable to all
There may be different stages of implementation and temporal priorities
There may be a need for gradual transition
But the requirements for the protection of health should not be different

## Slide 9
Q:
Isn’t it the same: two standards or two stages of implementation?

## Slide 10
A:
Accepting different standards means accepting lower standards of protection, no move to improve
Having the same standards for all countries means moving towards improvement
  What is the next step to achieve the same level?
  What should be improved?
  What is the obstacle to the next stage?

## Slide 11
The basis for the BSS
Notes: The two main sources of scientific basis for the BSS are UNSCEAR and ICRP.

## Slide 12
The basis for the BSS

## Slide 13
UNSCEAR
Regular reviews on current:
  status on the human radiation environment
  knowledge of radiation effects and radiation risks
Important base for:
  the recommendations of the ICRP
  the programme of the international organizations
United Nations Scientific Committee on the Effects of Atomic Radiation

## Slide 14
ICRP
Formulates recommendations in radiation protection:
  based on current knowledge about the biological effects of ionizing radiation (revised on regular basis)
  generally adopted by regulatory and advisory agencies at national and international levels as the basis for the development of legislation, regulations, codes of practice, and guidelines
The International Commission on Radiological Protection

## Slide 15
ICRP 60
Justification of a practice
Optimization of protection
Dose limitation
Fundamental principles of radiation protection:

## Slide 16
ICRP 60
Justification of a practice:
  Benefit of a practice must offset the radiation detriment
Fundamental principles of radiation protection:
Notes: The following three slides outlines the fundamentals of radiation protection in very simple terms.

## Slide 17
ICRP 60
Optimization of a practice:
  Exposures and likelihood of exposure should be kept as low as reasonably achievable, economic and social factors being taken into account - ALARA
Fundamental principles of radiation protection:

## Slide 18
ICRP 60
Dose limitation:
  Dose limits should be set to ensure that no individual faces an unacceptable risk in normal circumstances
Fundamental principles of radiation protection:

## Slide 19
The basis for the BSS

## Slide 20
The basis for the BSS
FAO
IAEA
ILO
OECD/NEA
PAHO
WHO

## Slide 21
IAEA
  Statutory function: “to establish standards of safety for the protection of health … and to provide for the applications of these standards.”
  Objective to accelerate and enlarge the contribution of atomic energy to peace, health and prosperity throughout the world.
International Atomic Energy Agency
Notes: The six international organizations forming the consensus for the BSS are presented.

## Slide 22
Other organizations:
FAO Food and Agricultural Organization of the United Nations
ILO International Labour Organization
OECD/NEA Nuclear Energy Agency of the Organisation for Economic Co-operation and Development
PAHO Pan American Health Organization
WHO World Health Organization

## Slide 23
BSS
  It aims to serve as a practical guide for public authorities and services, employers and workers, specialized radiation protection bodies, enterprises and safety and health committees.
  It lays down principles and establishes basic requirements for radiation protection and safety, with some guidance on how to apply them.
The BSS is a practical guide:

## Slide 24
Structure of the BSS
Preamble (the responsibilities of governments: aims, principles, philosophy and government arrangements for applying the standards)
Principal requirements (the responsibilities of the “users” of radiation: how to fulfill the aims of the standards)
Detailed requirements (in the Appendices: consequences of the principal requirements – specific guidelines for practices)
Schedules (quantitative standards and guidance)
Notes: These are the actual chapters of the BSS. The schedules take up a major proportion of the pages of the BSS.

## Slide 25
Structure of the BSS
PREAMBLE:
Principles and fundamental objectives
PRINCIPAL REQUIREMENTS:
General responsibilities and organizational practices
Interventions
APPENDICES: DETAILED REQUIREMENTS
Occupational exposure
Medical exposure
Public exposure
Potential exposure: safety of sources
Emergency exposure situations
Chronic exposure situations
SCHEDULES:
Numerical
Notes: The chapters and sub-chapters of the BSS.

## Slide 26
Some examples from the BSS
- in the context of the workshop -

## Slide 27
Structure of the BSS
Preamble (the responsibilities of governments: aims, principles, philosophy and government arrangements for applying the standards)
Principal requirements (the responsibilities of the “users” of radiation: how to fulfill the aims of the standards)
Detailed requirements (in the Appendices: consequences of the principal requirements – specific guidelines for practices)
Schedules (quantitative standards and guidance)
Notes: Not presenting the preamble, but going directly into the principal requirements.

## Slide 28
BSS: Principal Requirements
Allocation of responsibility
Administrative requirements
Radiation protection requirements
Management requirements
Technical requirements
Verification of safety
Notes: These are the different sections of the principal requirements.

## Slide 29
BSS: Principal Requirements
Allocation of responsibility – Examples:
The Regulatory Authority is responsible for enforcing the standards
Registrants / licensees and employers have the main responsibilities for application of the standards
Other parties (e.g. health professionals, qualified experts) have subsidiary responsibilities
So: We all have responsibilities!
Notes: Going through the sections one by one, with examples that are relevant in the context of the workshop.

## Slide 30
BSS: Principal Requirements
Allocation of responsibility – Examples:
Medical practitioners are responsible for the overall protection of patients (prescription and delivery of medical exposure) in radiotherapy
Qualified experts in radiotherapy physics are responsible for performing or supervising calibration, dosimetry and quality assurance

## Slide 31
BSS: Principal Requirements
Administrative requirements – Examples:
The legal person responsible for sealed source, unsealed source or radiation generator shall (unless the source is exempted) apply to the Regulatory Authority for authorization in form of registration or license

## Slide 32
BSS: Principal Requirements
Administrative requirements – Examples:
Registrants and licensees are responsible for implementing technical and organizational measures needed for ensuring protection and safety for sources
Registrants and licensees must notify the Regulatory Authority of intentions to modify practice or source (when significant implications could result) and become authorized for this before modifications
Notes: There will be examples of events, towards the end of the workshop, where it is seen what can happen when these requirements are not fulfilled.

## Slide 33
BSS: Principal Requirements
Radiation protection requirements – Examples:
Builds on ICRP 60:
Justification of practices
Dose limitation
Optimization of protection and safety
Notes: The three fundamentals of radiation protection, as mentioned previously.

## Slide 34
BSS: Principal Requirements
Management requirements – Examples:
A safety culture shall be fostered and maintained to encourage a questioning and learning attitude to safety
The responsibilities of each individual for safety should be clearly identified, and each individual suitably trained and qualified
Lines of communication should be open for safety information flow

## Slide 35
BSS: Principal Requirements
Management requirements – Examples:
QA programmes shall be established
Appropriate safety systems (technical and procedural) should be provided:
  to reduce likelihood that human error will lead to unintentional exposure
  to provide means for detecting human errors
  to facilitate intervention in the event of failure of safety system
Qualified experts should be identified and made available

## Slide 36
BSS: Principal Requirements
Technical requirements – Examples:
Sources shall be kept secure!
Control of a source shall never be relinquished
A source shall not be transferred unless the receiver possesses a valid authorization
A periodic inventory of movable sources shall be performed

## Slide 37
BSS: Principal Requirements
Technical requirements – Examples:
A “defence in depth” system for safety shall be used to:
  Prevent accidental exposures
  Mitigate consequences of accidental exposures
  Restore sources to safe conditions after any accidental exposures have occurred
Good engineering practice with equipment and facilities designed to (inter)national standards

## Slide 38
BSS: Principal Requirements
Verification of safety – Examples:
Quality and extent of protection and safety provisions should be assessed
Compliance with standards should be verified by monitoring and measurements, using equipment calibrated so that they are traceable to (inter)national standards
Records shall be maintained of these results

## Slide 39
Structure of the BSS
Preamble (the responsibilities of governments: aims, principles, philosophy and government arrangements for applying the standards)
Principal requirements (the responsibilities of the “users” of radiation: how to fulfill the aims of the standards)
Detailed requirements (in the Appendices: consequences of the principal requirements – specific guidelines for practices)
Schedules (quantitative standards and guidance)
Notes: The detailed requirements form different appendices in the BSS.

## Slide 40
BSS: Detailed Requirements
Occupational exposure
Medical exposure
Public exposure
Potential exposure: Safety of sources
Emergency exposure situations
Chronic exposure situations
Notes: The different appendices are quite practical guidelines for different exposure situations.

## Slide 41
BSS: Detailed Requirements
Occupational exposure:
Details on requirements in relation to exposures of workers incurred in the course of their work (with some exceptions)
Lists e.g. responsibilities (of licensees, employers, workers), classification of areas, monitoring of exposure, local rules and supervision, protective equipment and health surveillance

## Slide 42
BSS: Detailed Requirements
Medical exposure:
Subject of next lecture
Details on requirements in relation to exposure incurred by patients as part of their own medical or dental diagnosis or treatment (mainly)

## Slide 43
BSS: Detailed Requirements
Public exposure:
Details on requirements in relation to exposure incurred by members of the public from radiation sources (excluding any occupational or medical exposure and the normal local natural background radiation)
Lists e.g. responsibilities, public exposure from external irradiation sources, contamination and waste, discharge of radioactive substances into environment and monitoring of public exposure

## Slide 44
BSS: Detailed Requirements
Potential exposure – Safety of sources:
Details on requirements in relation to safety of radiation sources (nuclear installations, etc.)
Lists e.g. design requirements, responsibility and accountability for sources, feedback of operating experience to Regulatory Authority and QA

## Slide 45
BSS: Detailed Requirements
Emergency exposure situations:
Details on requirements in relation to unplanned exposures of a certain magnitude (resulting from accidents and emergencies)
Lists e.g. emergency plans, interventions in emergency situations (including justification, optimization of protective actions, protection of workers undertaking intervention, and cessation)

## Slide 46
BSS: Detailed Requirements
Chronic exposure situations:
Details on requirements in relation to chronic exposure situations requiring remedial action (resulting from natural sources – e.g. radon – or exposure to contamination from past events – no longer emergency)
Lists e.g. remedial action plans

## Slide 47
Structure of the BSS
Preamble (the responsibilities of governments: aims, principles, philosophy and government arrangements for applying the standards)
Principal requirements (the responsibilities of the “users” of radiation: how to fulfill the aims of the standards)
Detailed requirements (in the Appendices: consequences of the principal requirements – specific guidelines for practices)
Schedules (quantitative standards and guidance)
Notes: The schedules take up the most pages in the BSS, in the form of tables etc.

## Slide 48
BSS: Schedules
Exemptions
Dose limits
Guidance levels for medical exposure
Dose levels for undertaking interventions
Intervention and action levels for emergency exposure situations
Action levels for chronic exposure
Notes: These are the different parts of the schedules.

## Slide 49
Summary
International harmonization
Consensus of 135 countries
Reference point for national standards and regulations
Applicable to all types of exposure (occupational, medical, public)